## Slide 1
Structural Safety
&
Non-Structural Safety

## Slide 2: Which Chair will you prefer ?

## Slide 3
…. how a force flows ?

## Slide 4: Why structures fail?
Many buildings are very old & weak
Old buildings were constructed when Design Codes did NOT exist
Codes not strictly followed in new buildings
Engineers unaware of earthquake resistant designs
Poor quality of materials
Poor construction
Untrained masons

## Slide 5: Background
Structural engineering is surely one of the oldest – a plank across a stream!

## Slide 6
disaster resistant construction
principles

## Slide 8: Disaster resistant construction principles
If a table, with a heavy top is poorly attached to its supports, is shaken violently can break off and collapse. A building with heavy roof can collapse in an earthquake if roof is not properly attached to its supports
In an earthquake or cyclone , a tree bends and comes back to its original position because it is elastic and strong. Masonry wall bend and crack. A building needs to be ductile/elastic

## Slide 9: General rules of building plan and form
Building with asymmetrical plan is not safe
Divide the building in a number of symmetrical units
Avoid rectangular plan having walls longer than 3 times its width

## Slide 10: General rules of roof and walls
Four sided sloping roof is better than the two sided roof, since the gable wall can easily crack at its base
Walls can collapse if they are…
Too long
Build divider wall simultaneously and properly connected to the outer long walls, and make it 230mm thick to prevent collapse or cracking

## Slide 11: General rules for walls
Avoid un-reinforced masonry columns. Build with 1-12mm TOR bar fully encased in concrete. Anchor it at top and bottom.
Avoid high load walls. Build 230mm high load walls with reinforcement bar.

## Slide 12
Earthquake

## Slide 13
Earthquake

## Slide 14
Earthquake

## Slide 15
Earthquake

## Slide 16
Earthquake

## Slide 17
Earthquake

## Slide 18
Floods

## Slide 19
Floods

## Slide 20
Floods

## Slide 21
Floods

## Slide 22
High Wind

## Slide 23
High Wind

## Slide 24
NON-STRUCTURAL SAFETY

## Slide 31: What is Non-Structural Elements?
those which are attached to or housed in
a building or building system, but are not
part of the main load-resisting structural
system of the building.

## Slide 32
Architectural elements, for example, parapets, penthouses, appendages and ornamentations,veneer, cladding systems, suspended ceiling, sign boards, etc.,
mechanical components, for example, boilers, storage tanks, piping systems, fire protection systems, and
electrical components, for example, electric motors, light fixtures, computers and data acquisition systems, etc.
Furnitures and content, for example, almirah, sofa, computer, etc.

## Slide 33: Risk Associated
loss of life or injury to building occupants
loss of property especially in commercial buildings (high as 75% of total cost of building)
impairment or loss of function of an important building or lifeline structure, for example, fire resisting system, communication facilities, telecom centre

## Slide 34: NSM – Day to Day Risk

## Slide 38: Non-Structural Hazard Hunt Group Exercise

## Slide 39: Non Structural Mitigation Itemized Inventory Form
Area / Location | Item (Full Description) | Risk Type |  |  | Priority H/M/L or 1,2,3 | Weight (including contents) in KG | Mitigation Measure
 |  | Life Safety | Property Safety | Operational Continuity |  |  | 
Room No 1 | Computer |  |  |  | H | 3 kgs | Fixing by Hook and loop (velcro)
 | Glass window pane |  |  |  | H |  | Filming
Room No 2 | Door opening inward |  |  |  | H | 8 kgs | Outward opening/ double hinge
 | Sharp Edge on exit door |  |  |  | H |  | Sloping
Lobby – 1st Floor | Copier Machine with roller |  |  |  | M | 15 Kgs | Fixing /locking
 | Telephone Exchange Board |  |  |  | L | 7 kgs | Relocate/fixing

## Slide 40
Thank you
www.seedsindia.org